## Sheet1
2016 CBECC Analysis Results
New Single Family Detached Dwellings
DOE Minimum Efficiency Equipment
CEC Climate Zone 12 - Stockton
2100 ft2 Prototype | Furnace and A/C (kTDV/Sqft) | Heat Pump (kTDV/Sqft) | Ratio HP/Furnace | AFUE needed | 8.6 to 8.2 ratio | new kTDV
Heating | 18.84 | 17.09 | 0.90711 | 88.1919 | 0.95349 | 16.2951
Cooling | 11.77 | 11.77 |  | 92.494
Total | 41.41 | 39.9
2700 ft2 Prototype | Furnace and A/C (kTDV/Sqft) | Heat Pump (kTDV/Sqft)
Heating | 16.94 | 15.47 | 0.91322 | 87.6018 | 0.95349 | 14.7505
Cooling | 16.17 | 16.17 |  | 91.8751
Total | 42.55 | 41.08